{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["项目","明细"],"not_rendered":{"images":5,"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"项目","index":0,"n_rows":8,"n_cols":7,"rows_kept":8}
["表1：单一来源项目清单"]
["序号","项目编号","项目名称","供应商名称","申报单位","明细数量","备注"]
[1,202508270001,"2025年滁州轨道运营变配电专业保护装置备件采购项目（三年框架）","南京南瑞继保工程技术有限公司","供电中心",12,"原厂"]
[2,202508270002,"2025年滁州轨道运营电客车司控器模块部件采购项目（三年框架）","西安驰必易电气有限公司","车辆中心",1,"原厂"]
[3,202508270003,"2025年滁州轨道运营电客车门控器部件采购项目（三年框架）","南京康尼机电股份有限公司","车辆中心",2,"原厂"]
[4,202508270004,"2025年滁州轨道运营电客车光源组件采购项目（三年框架）","深圳垅运照明电气有限公司","车辆中心",16,"原厂"]
[5,202508270005,"2025年滁州轨道运营电客车牵引变流器内部件采购项目（三年框架）","广州神铁牵引设备有限公司","车辆中心",36,"原厂"]
[6,202508270006,"2025年滁州轨道运营电客车雨刮器刮片配件采购项目（三年框架）","株洲长河电力机车科技有限公司","车辆中心",1,"原厂"]

{"sheet":"明细","index":1,"n_rows":70,"n_cols":7,"rows_kept":70}
["表2：单一来源明细清单"]
["序号","单据编号","物资编码","物资名称","规格型号","计量单位","供应商名称"]
[1,202508270001,40020406028001,"27.5kV馈线保护装置","南瑞PCS-9686GC（含软件调试）","台","南京南瑞继保工程技术有限公司"]
[2,202508270001,40020304018001,"变压器差动保护装置","南瑞PCS-9671C(含软件调试）","台","南京南瑞继保工程技术有限公司"]
[3,202508270001,40020304058007,"母联保护装置(G9)","南瑞PCS-923SLA-G(含软件调试）","台","南京南瑞继保工程技术有限公司"]
[4,202508270001,40040101018001,"通信管理装置","南瑞PCS-9794A-H2(含软件调试）","台","南京南瑞继保工程技术有限公司"]
[5,202508270001,40020304048001,"变压器非电量保护装置","南瑞PCS-9661C(含软件调试）","台","南京南瑞继保工程技术有限公司"]
[6,202508270001,40020304028002,"变压器后备保护装置","南瑞PCS-9681C(含软件调试）","台","南京南瑞继保工程技术有限公司"]
[7,202508270001,40020304058008,"牵引变压器保护装置","南瑞PCS-9688GC（含软件调试）","台","南京南瑞继保工程技术有限公司"]
[8,202508270001,40020406028002,"备用电源自投装置","南瑞PCS-9689GC（含软件调试）","台","南京南瑞继保工程技术有限公司"]
[9,202508270001,40020304058009,"故障录波装置","南瑞PCS-996RC（含软件调试）","台","南京南瑞继保工程技术有限公司"]
[10,202508270001,40020304058010,"时间同步装置","南瑞PCS-9785-H3（含软件调试）","台","南京南瑞继保工程技术有限公司"]
[11,202508270001,40040102028002,"变电站网络交换机","南瑞PCS-9882AD-H3（含软件调试）","台","南京南瑞继保工程技术有限公司"]
[12,202508270001,40020304058011,"变压器测控装置","南瑞PCS-9705T含软件调试）","台","南京南瑞继保工程技术有限公司"]
[13,202508270002,10030405008004,"司机控制器","SP125B","台","西安驰必易电气有限公司"]
[14,202508270003,10060104018002,"电子门控器（主）","TS-29030030102900","件","南京康尼机电股份有限公司"]
[15,202508270003,10060104018003,"电子门控器（从）","TS-29030030103100","件","南京康尼机电股份有限公司"]
[16,202508270004,10050101010037,"贯通道筒灯","LY-LED-DC110V-5W-T25","个","深圳垅运照明电气有限公司"]
[17,202508270004,10050101030001,"感光器","CDZ-CLC-S11","个","深圳垅运照明电气有限公司"]
[18,202508270004,10050101048001,"检修灯","LY-LED-DC110V-6W-JX02","个","深圳垅运照明电气有限公司"]
[19,202508270004,10050103020074,"调光控制器","CDZ-TCN-DIM04","个","深圳垅运照明电气有限公司"]
[20,202508270004,10050103028001,"光源板组件989（A)","LD213/02-200","个","深圳垅运照明电气有限公司"]
[21,202508270004,10050103028002,"光源板组件989（B)","LD213/02-300","个","深圳垅运照明电气有限公司"]
[22,202508270004,10050103028003,"光源板组件791（A)","LD213/01-200","个","深圳垅运照明电气有限公司"]
[23,202508270004,10050103028004,"光源板组件791（B)","LD213/01-300","个","深圳垅运照明电气有限公司"]
[24,202508270004,10050103028005,"光源板组件551（A)","LD193/02-200","个","深圳垅运照明电气有限公司"]
[25,202508270004,10050103028006,"光源板组件551（B)","LD193/02-300","个","深圳垅运照明电气有限公司"]
[26,202508270004,10050103028007,"光源板组件892（A)","LD193/03-200","个","深圳垅运照明电气有限公司"]
[27,202508270004,10050103028008,"光源板组件892（B)","LD193/03-300","个","深圳垅运照明电气有限公司"]
[28,202508270004,10050103028009,"LED驱动电源","CDZ-LED-350-48V-DD(DC110V)-16","个","深圳垅运照明电气有限公司"]
[29,202508270004,10050103048001,"光源板组件(环形灯)","DD76/00-100","个","深圳垅运照明电气有限公司"]
[30,202508270004,10050103058001,"光源板组件(贯通道灯)","DD77/00-100","个","深圳垅运照明电气有限公司"]
[31,202508270004,10050103068001,"门区装饰灯","LY-LED-DC110V-10W-JX14","个","深圳垅运照明电气有限公司"]
[32,202508270005,10040901010005,"流速传感器 SI5000 KPL","SI5000 KPL","个","广州神铁牵引设备有限公司"]
[33,202508270005,10040901020003,"110V直流风机","深圳矽峰 D17251M05B","个","广州神铁牵引设备有限公司"]
[34,202508270005,10040901020024,"PA D238 A101: PEC INT电路板（U501\\U502板卡）","3BHE029063R0101","块","广州神铁牵引设备有限公司"]
[35,202508270005,10040901030018,"绕线电阻 ZO、5-4 1R5 K（VLU电阻）","3BHE031694R0001","个","广州神铁牵引设备有限公司"]
[36,202508270005,10040901060013,"中间直流电容","2x1300uF","个","广州神铁牵引设备有限公司"]
[37,202508270005,10040901060014,"线路接触器2","TL-1-10-10-C-E-H-2F","个","广州神铁牵引设备有限公司"]
[38,202508270005,10040901068001,"预充回路电阻","RXGI 8.1KJ 50R J大功率被漆线绕电阻器","个","广州神铁牵引设备有限公司"]
[39,202508270005,10048101008001,"电压传感器","NCV1-1500/SP3","个","广州神铁牵引设备有限公司"]
[40,202508270005,10048101008002,"电流传感器","NACL.1000Q-S3/SP4","个","广州神铁牵引设备有限公司"]
[41,202508270005,10048101008003,"PPD 534控制器","ABB","块","广州神铁牵引设备有限公司"]
[42,202508270005,10048101018004,"方波电源 KY A935 A01","KY A935 A01","个","广州神铁牵引设备有限公司"]
[43,202508270005,10048101028001,"外部散热风机","VN1907CFCN","个","广州神铁牵引设备有限公司"]
[44,202508270005,10048101038001,"线路接触器1","SI1A1107C-M-E-J","个","广州神铁牵引设备有限公司"]
[45,202508270005,10048102008001,"高压检测电路板（HVD板卡）","XV C770 BE101","块","广州神铁牵引设备有限公司"]
[46,202508270005,10048102008002,"继电器模块 - PLC-RPT-110UC/21/RW",2900320,"个","广州神铁牵引设备有限公司"]
[47,202508270005,10048102008003,"滁宁RRT项目 PT100信号转接板（U505板卡）","CHSR_PT100_V1","块","广州神铁牵引设备有限公司"]
[48,202508270005,10048102008004,"滁宁RRT项目 15DI信号转接板（U503板卡）","CHSR_DI/DO_V2","块","广州神铁牵引设备有限公司"]
[49,202508270005,10048102018001,"充电机电阻 VHPR80","VHPR80","个","广州神铁牵引设备有限公司"]
[50,202508270005,10048102018002,"IC205: 24Vdc控制电源","72..110/+-24Vdc 2x75W","个","广州神铁牵引设备有限公司"]
[51,202508270005,10048102018003,"KU D735:110V逆变24V控制电源(IC263_2)","24V/6.25A","个","广州神铁牵引设备有限公司"]
[52,202508270005,10048102018004,"滁宁RRT项目整流模块1","PEBB_25kV_Water_MC_A01","个","广州神铁牵引设备有限公司"]
[53,202508270005,10048102018005,"滁宁RRT项目整流模块2","PEBB_25kV_Water_MC_A02","个","广州神铁牵引设备有限公司"]
[54,202508270005,10048102018006,"滤波电容","FFC1SY660-50","个","广州神铁牵引设备有限公司"]
[55,202508270005,10048102028001,"水泵","CEA210/4","个","广州神铁牵引设备有限公司"]
[56,202508270005,10048102038001,"接触器AF09ZB-30-10RT-22","AF09ZB-30-10RT-22","个","广州神铁牵引设备有限公司"]
[57,202508270005,10048102038002,"接触器辅助触点 CAL 5-11 1NO+1NC","常开+1常触点闭","个","广州神铁牵引设备有限公司"]
[58,202508270005,10048102038003,"接触器AF400-30-11","48-130V AC/DC","个","广州神铁牵引设备有限公司"]
[59,202508270005,10048103008001,"牵引变流器冷却剂","25kg/去离子水（防腐的水）\nAntifrogen N（乙二醇）6：4","桶","广州神铁牵引设备有限公司"]
[60,202508270005,10048106008001,"内部风机断路器","07RAK3001801","个","广州神铁牵引设备有限公司"]
[61,202508270005,10048106018001,"ABB辅助充电机断路器","S203-C100","个","广州神铁牵引设备有限公司"]
[62,202508270005,10048106038001,"电子测量监视继电器","CM-ESS.1P 24-240 V AC/DC","个","广州神铁牵引设备有限公司"]
[63,202508270005,10048106058001,"充电机接触器","AF50-30-00","个","广州神铁牵引设备有限公司"]
[64,202508270005,10048107008001,"温度传感器","NCTS19（PT100）","个","广州神铁牵引设备有限公司"]
[65,202508270005,10048107038001,"车间电源插座","YGC675-P(4+6)RH5","个","广州神铁牵引设备有限公司"]
[66,202508270005,10048107048001,"TRDP通讯网关","SSCBE3100.GZSTTRDPv3.20","个","广州神铁牵引设备有限公司"]
[67,202508270005,"73010600CL0027","S203-C100主回路辅助触点","S2C-H11R","个","广州神铁牵引设备有限公司"]
[68,202508270006,10011112000060,"刮片","CH21003210000002","只","株洲长河电力机车科技有限公司"]